## Sheet1
Flag | Description | Note
A | Added Filler Data | Record was added by the Fill Gaps routine (null values).
B | Bad Qualified | Data is bad but visit information can be used to qualify the data.
G | Good Data | Data has been reviewed and determined to reflect measurements made by equipment that was calibrated to a standard and was operating normally.
M | Missing Data | Data is missing.
Q | Qualified Good data | Data has been adjusted to a qualified good status based on knowledge of probe miss calibration.
U | Unchecked | Data has not yet been reviewed and may include measurements made by equipment that was out of calibration or was not operating normally.
X | Bad Data | Data has been reviewed and determined to reflect measurements made by equipment that was out of calibration or was not operating normally.
P | Provisionally good data | Data has been reviewed by automated QAQC algorithms and likely reflects measurements made by equipment that was calibrated to a standard and was operating normally.
D | Dubious or suspect data | Data has been reviewed by automated QAQC algorithms and likely reflects measurements made by equipment that was out of calibration or was not operating normally.