## TEMPLATE
FIELD RECORD SHEET
CA Department of Water Resources
Division of Environmental Services, Environmental Monitoring Program (Field)
Field Date: |  |  |  | Arrival Time: |  |  |  | Verification Sonde:
Station Name: |  |  |  | Exchange Time: |  |  |  |  | Removed Sonde:
Performed By: |  |  |  | Departure Time: |  |  |  |  | Installed Sonde:
|  | Arrival Sample |  |  | Pre-cleaned Sonde |  | Post-cleaned Sonde |  |  |  | Departure Sample
|  | Outgoing Sonde | Verification |  | Outgoing Sonde | Verification | Outgoing Sonde |  |  | Verification | Installed Sonde | Verification
Time | PST
Water Temperature | °C
Specific Conductivity | μS/cm
Dissolved Oxygen | mg/L
pH | units
Turbidity | NTU
Fluorescence | μg/L
|  | Arrival Sample | [8 empty] | Departure Sample
|  | Logger | Staff | [7 empty] | Logger | Staff
Stage | ft
Notes:

## FAKE
FIELD RECORD SHEET
CA Department of Water Resources
Division of Environmental Services, Environmental Monitoring Program (Field)
Field Date: |  | 2020-08-23 |  |  | Arrival Time: |  | 800 |  |  | Verification Sonde: |  |  | 143
Station Name: |  | XYZ |  |  | Exchange Time: |  | 900 |  |  |  | Removed Sonde: |  | 200
Performed By: |  | A. DUDE |  |  | Departure Time: |  | 915 |  |  |  | Installed Sonde: |  | 203
|  |  | Arrival Sample |  |  | Pre-cleaned Sonde |  |  | Post-cleaned Sonde |  |  |  | Departure Sample
|  |  | Outgoing Sonde | Verification |  | Outgoing Sonde |  | Verification | Outgoing Sonde |  |  | Verification | Installed Sonde | Verification
Time |  | PST | 805 | 806 |  | 816 |  | 817 | 823 |  |  | 826 | 906 | 909
Water Temperature |  | °C | 21.4 | 21.35 |  | 21.8 |  | 21.82 | 21.6 |  |  | 21.58 | 21.46 | 21.45
Specific Conductivity |  | μS/cm | 9590 | 10267 |  | 10257 |  | 10365 | 10096 |  |  | 10008 | 9978 | 10157
Dissolved Oxygen |  | mg/L | 8.07 | 7.99 |  | 8.14 |  | 8 | 8.4 |  |  | 8.22 | 8 | 8.07
pH |  | units | 7.86 | 7.78 |  | 7.86 |  | 7.81 | 7.9 |  |  | 7.87 | 7.82 | 7.81
Turbidity |  | NTU | 14.57 | 10.85 |  | 13.41 |  | 11.49 | 12.9 |  |  | 11.66 | 11.71 | 10.39
Fluorescence |  | μg/L | 4.29 | 2.51 |  | 4.5 |  | 2.24 | 4.82 |  |  | 3.47 | 3.14 | 2.86
|  |  | Arrival Sample | [9 empty] | Departure Sample
|  |  | Logger | Staff | [8 empty] | Logger | Staff
Stage |  | ft | 5 | 5.1 | [8 empty] | 4.7 | 4.68
Notes: | I came, I saw, I sampled